## initial_process
MODBUS INSTRUCTION SAMPLE | timestamp | instruction |  | instruction name | slave address | index address unit 1 | address unit 1 | index quantity unit 1 | quantity unit 1 |  | count unit 1 | register units [1] | [7 empty] | address unit 2 | quantity unit 2 | error check 1 | error check 1 | Notas
[12 empty] | vector units [1] | mininum value reg | maximum value reg | average value reg | median value reg | total sum | quartile 1 | zeros count
01 01 00 19 00 03 AD CC |  | 1 | 0x1 | read_coils | 1 | 2,3 | 25 | 4,5 | 3 | [12 empty] | AD | CC
01 02 00 04 00 0C 39 CE |  | 2 | 0x2 | read_discrete_inputs | 1 | 2,3 | 4 | 4,5 | 12 | [12 empty] | 39 | CE
01 03 04 EC 00 0C 85 0A |  | 3 | 0x3 | read_holding_registers | 1 | 2,3 | 1260 | 4,5 | 12 | [12 empty] | 85 | 0A
01 04 00 56 00 03 50 1B |  | 4 | 0x4 | read_input_registers | 1 | 2,3 | 86 | 4,5 | 3 | [12 empty] | 50 | 1B
01 05 00 0A FF 00 AC 24 |  | 5 | 0x5 | write_single_coil | 1 | 2,3 | 10 | 4,5 | 65280 o 0 | [14 empty] | Escalar quantity units 1 para 1 (65280) o 0
01 06 04 FD 06 DD DA F3 |  | 6 | 0x6 | write_single_register | 1 | 2,3 | 1277 | 4,5 |  |  |  | [1757] | 1757 | 1757 |  | 1757 | 1757 |  | 4 |  |  | DA | F3
01 07 41 E2 |  | 7 | 0x7 | read_exception_status
01 08 00 00 12 34 ED 7C |  | 8 | 0x8 | diagnostics
01 0B 04 0A |  | 11 | 0xB | get_com_event_counter
01 0C 00 25 |  | 12 | 0xC | get_com_event_log
01 0F 00 0A 00 0C 02 FF 0F E4 EE |  | 15 | 0xF | write_multiple_coils | 1 | 2,3 | 10 | 4,5 | 12 | 6 | 2 | [ 255 15 ] | 5 | 5 |  | 5 | 5 |  | 14 |  |  | 7E | 95
01 10 00 0A 00 03 06 00 0A 00 0B 00 0C 2F 66 |  | 16 | 0x10 | write_multiple_registers | 1 | 2,3 | 10 | 4,5 | 3 | (7, 8)..Max-2 | 6 | [ 10 11 12 ] | 1 | 4 |  | 2.5 | 10 |  | 27 |  |  | A8 | 1B
DO NOT FILTER |  | 17 | 0x11 | report_server_id
DO NOT FILTER |  | 20 | 0x14 | read_file_record
DO NOT FILTER |  | 21 | 0x15 | write_file_record
DO NOT FILTER |  | 22 | 0x16 | mask_write_register
01 17 00 00 00 02 00 0A 00 02 04 00 01 00 02 E2 63 |  | 23 | 0x17 | read_write_multiple_registers | 1 | 2,3 | 0 | 4,5 | 2 | 10 | 4 | [ 00 01 00 02 ] | 0 | 2 |  | 0.75 | 3 |  | 30 | 10 | 2 | E2 | 63
DO NOT FILTER |  | 24 | 0x18 | read_fifo_queue | [15 empty] | pos 6 7 | pos 8 9